Spatial Resolution

Code:

import cv2
import numpy as np
import matplotlib.pyplot as plt
from scipy.signal import find_peaks


custom_image = cv2.imread('sarac.jpg', cv2.IMREAD_GRAYSCALE)

plt.imshow(custom_image, cmap='gray')
plt.show()

if custom_image is not None:

    line_sum = np.sum(custom_image, axis=0)

    peaks, _ = find_peaks(line_sum, height=0.5)

    peak_distances = np.diff(peaks)

    mm_per_image = 10
    pixels_per_mm = custom_image.shape[1] / mm_per_image

    spatial_resolution = pixels_per_mm / np.mean(peak_distances)

    print(f"Spatial Resolution: {spatial_resolution:.2f} LP/mm")
else:
    print("Görüntü yüklenemedi veya geçerli formatta değil.")

Code Explanation:

- Image Loading: The image 'sarac.jpg' is read in grayscale using OpenCV (cv2.imread).

- Image Display: The image is displayed using Matplotlib (plt.imshow).

- Checking Image: It checks if the image was loaded successfully.

- Summing Vertical Pixels: The pixel values along the vertical axis (columns) of the image are summed.

- Finding Peaks: The find_peaks function identifies significant intensity peaks in the summed vertical profile, representing edges or patterns.

- Calculating Peak Distances: The distances between consecutive peaks are calculated.

- Spatial Resolution: The spatial resolution is estimated by dividing the pixel density by the average peak distance. This gives the resolution in line pairs per millimeter (LP/mm).

Output:

Report

This code calculates the spatial resolution of an image by detecting the periodic patterns (peaks) in its vertical pixel sum. The final result is printed as a spatial resolution value in line pairs per millimeter (LP/mm), which indicates how fine the image's details are.